## Sheet
Turbine_ID | Maintenance_Priority | Local_Reference | Secondary_Reference
Sub_Turbine_04 |  | Swansea Bay harbour coordination | Gower cetacean watch
Sub_Turbine_05 | Routine | Mumbles tide-gauge review | Tawe marine maintenance note
Sub_Turbine_01 | Monitor | Bristol Channel weather briefing | Port Talbot marine liaison
Sub_Turbine_07 | Calibration | Swansea Bay harbour coordination | Gower cetacean watch
Pontoon_Meter_2 | Ignore | Mumbles tide-gauge review | Tawe marine maintenance note
Sub_Turbine_03 | Monitor | Bristol Channel weather briefing | Port Talbot marine liaison
Bay_Cable_01 | Cable_Check | Swansea Bay harbour coordination | Gower cetacean watch
Sub_Turbine_09 | Routine | Mumbles tide-gauge review | Tawe marine maintenance note
Sub_Turbine_06 | Monitor | Bristol Channel weather briefing | Port Talbot marine liaison
Harbour_Gauge_1 | Ignore | Swansea Bay harbour coordination | Gower cetacean watch
Sub_Turbine_08 | Routine | Mumbles tide-gauge review | Tawe marine maintenance note
Tidal_Buoy_A | Ignore | Bristol Channel weather briefing | Port Talbot marine liaison
Sub_Turbine_40 | Monitor | Mumbles tide-gauge review | Tawe marine maintenance note
Sub_Turbine_12 | Routine | Bristol Channel weather briefing | Port Talbot marine liaison